## Start here
ACH-01 Gravimetric calibration of glassware
Excel version of the card. It does the same calculations as the R script ach01_gravimetric_calibration.R.
How to use this workbook
1. Go to the 'Enter data' sheet. Type only in the yellow cells with blue text. Grey cells are calculated for you.
2. Fill the blocks that apply. Leave rows you did not use empty. The grey italic row above each table is an example of the format and is not used.
3. Open the 'Results' sheet. Everything there is calculated. Yellow cells on that sheet are settings you may change.
What the colours mean
Yellow cell, blue text: you type here.
Grey cell: a formula. Sheets are protected without a password so formulas are not overwritten by accident (Review > Unprotect Sheet).
Assumptions and sources
Water density: Tanaka M, Girard G, Davis R, Peuto A, Bignell N (2001) Metrologia 38:301-309 (0 to 40 C).
Volume = mass / (water density - air density) x (1 - air density / density of the balance weights). The air density (0.0012 g/mL) and balance weight density (8.0 g/mL) are on the Results sheet.
If your balance reads to 0.1 g, weigh several deliveries together and enter the total mass with the total nominal volume as the device's nominal volume.
Practice data in the filled example were invented for the card. They are not real measurements.
Compiled by Emmanuel G. Lozano, Department of Biology, College of Arts and Sciences, Pampanga State University. Original material is licensed CC BY-NC 4.0: credit required, non-commercial use only.

## Enter data
Enter your data
Type only in yellow cells. Leave unused rows empty.
1. Devices
Device name | Nominal volume (mL)
100 mL cylinder | 100
100 mL cylinder | 100
25 mL pipette | 25
10 mL syringe | 10
2. Deliveries for device 1 (one row per delivery)
Mass of water (g) | Water temperature (C) | Delivered volume (mL)
99.1 | 27.5
98.46 | 27.5 | 98.9224
98.03 | 27.5 | 98.4904
98.95 | 27.5 | 99.4147
99 | 27.5 | 99.4649
98.63 | 27.5 | 99.0932
98.86 | 27.5 | 99.3243
99.33 | 27.5 | 99.7965
99.11 | 27.5 | 99.5755
98.98 | 27.5 | 99.4448
98.98 | 27.5 | 99.4448
3. Deliveries for device 2 (one row per delivery)
Mass of water (g) | Water temperature (C) | Delivered volume (mL)
99.1 | 27.5
24.88 | 27.5 | 24.9968
24.93 | 27.5 | 25.0471
24.85 | 27.5 | 24.9667
24.89 | 27.5 | 25.0069
24.89 | 27.5 | 25.0069
24.85 | 27.5 | 24.9667
24.9 | 27.5 | 25.0169
24.95 | 27.5 | 25.0672
24.89 | 27.5 | 25.0069
24.87 | 27.5 | 24.9868
4. Deliveries for device 3 (one row per delivery)
Mass of water (g) | Water temperature (C) | Delivered volume (mL)
99.1 | 27.5
10.19 | 27.5 | 10.2379
10.3 | 27.5 | 10.3484
10.23 | 27.5 | 10.278
10.2 | 27.5 | 10.2479
10.03 | 27.5 | 10.0771
10.26 | 27.5 | 10.3082
10.26 | 27.5 | 10.3082
10.36 | 27.5 | 10.4087
10.38 | 27.5 | 10.4287
10.28 | 27.5 | 10.3283

## Results
Results
Everything on this sheet is calculated. Change only the yellow settings.
Settings
Air density (g/mL) | 0.0012
Density of balance weights (g/mL) | 8
Balance resolution (g) | 0.01 | Readability of your balance.
Results by device
Device | n | Nominal (mL) | Mean (mL) | SD (mL) | RSD (%) | Bias (mL) | Bias (%) | p (bias = 0) | Balance reading uncertainty (mL)
100 mL cylinder | 10 | 100 | 99.2972 | 0.37209 | 0.37472 | -0.70285 | -0.70285 | 0.00020923 | 0.0041023
25 mL pipette | 10 | 25 | 25.0069 | 0.031771 | 0.12705 | 0.0068913 | 0.027565 | 0.51005 | 0.0041023
10 mL syringe | 10 | 10 | 10.2971 | 0.099059 | 0.962 | 0.29713 | 2.9713 | 5.5445e-06 | 0.0041023
Reference values
Water density at 20 C (g/mL) | 0.99821
Volume of 1 g of water in air at 20 C (mL) | 1.0029