## Start here
ACH-03 Total water hardness by EDTA titration
Excel version of the card. It does the same calculations as the R script ach03_edta_hardness.R.
How to use this workbook
1. Go to the 'Enter data' sheet. Type only in the yellow cells with blue text. Grey cells are calculated for you.
2. Fill the blocks that apply. Leave rows you did not use empty. The grey italic row above each table is an example of the format and is not used.
3. Open the 'Results' sheet. Everything there is calculated. Yellow cells on that sheet are settings you may change.
What the colours mean
Yellow cell, blue text: you type here.
Grey cell: a formula. Sheets are protected without a password so formulas are not overwritten by accident (Review > Unprotect Sheet).
Assumptions and sources
Hardness (mg/L as CaCO3) = M(EDTA) x V(EDTA, mL) x 100.09 x 1000 / V(sample, mL). Classes: soft under 60, moderately hard 60 to 120, hard 120 to 180, very hard 180 and above.
Spike recovery = (hardness of the spiked sample - hardness of the unspiked sample) / amount added x 100. The small dilution from adding the spike is ignored.
Practice data in the filled example were invented for the card. They are not real measurements.
Compiled by Emmanuel G. Lozano, Department of Biology, College of Arts and Sciences, Pampanga State University. Original material is licensed CC BY-NC 4.0: credit required, non-commercial use only.

## Enter data
Enter your data
Type only in yellow cells. Leave unused rows empty.
1. EDTA volumes (mL) for each water source, one row per titration. Type the source names in the yellow header cells.
Titration | Tap water | Well water | Bottled water | Stream water | Spiked tap water
Titration 1 | 8.5 | 21 | 2.7 | 12.1 | 12.3
Titration 1 | 4.2 | 10.46 | 1.35 | 6.01 | 6.12
Titration 2 | 4.34 | 10.43 | 1.34 | 5.92 | 6.19
Titration 3 | 4.18 | 10.55 | 1.35 | 6.04 | 6.28
Titration 4 | 4.2 | 10.3 | 1.44 | 6.03 | 6.16
Titration 5
Titration 6

## Results
Results
Everything on this sheet is calculated. Change only the yellow settings.
Settings
EDTA molarity (mol/L) | 0.01
Sample volume titrated (mL) | 50
Amount added in the spike (mg/L as CaCO3) | 40 | Concentration increase in the spiked sample.
Hardness by source (mg/L as CaCO3)
Source | n | Mean hardness | SD | 95% CI, lower | 95% CI, upper | Class
Tap water | 4 | 84.6761 | 1.4801 | 82.321 | 87.0313 | moderately hard
Well water | 4 | 208.8878 | 2.0707 | 205.5929 | 212.1827 | very hard
Bottled water | 4 | 27.4247 | 0.93893 | 25.9306 | 28.9187 | soft
Stream water | 4 | 120.108 | 1.0964 | 118.3633 | 121.8527 | hard
Spiked tap water | 4 | 123.8614 | 1.3614 | 121.6951 | 126.0276 | hard
Spike recovery (tap water)
Recovery (%) | 97.9631 | Roughly 80 to 120 percent is commonly accepted; use your laboratory's own rule.
Standardization check: 10.0 mg CaCO3 titrated with 10.0 mL EDTA gives (mol/L) | 0.009991