## Start here
ACH-04 Conductivity calibration, detection limit, and standard addition
Excel version of the card. It does the same calculations as the R script ach04_conductivity_calibration.R, so you can use either.
How to use this workbook
1. Go to the 'Enter data' sheet. Type only in the yellow cells with blue numbers. Everything grey is calculated for you.
2. Fill the four blocks: standards (concentration, reading, temperature), blank readings, the unknown, and the standard addition series.
3. Open the 'Results' sheet. The calibration line, detection limit, unknown concentration and the standard addition check appear there, with two charts.
4. Leave a row empty if you did not use it. You need at least 3 standards and 2 blank readings before results appear.
What the colours mean
Yellow cell, blue number: you type here.
Grey cell: a formula. The sheets are protected without a password so formulas cannot be overwritten by accident (Review > Unprotect Sheet if you need to change one).
Grey italic row above each table: an example of the format. It is not used in any calculation.
Assumptions and sources
Temperature compensation: reading at 25 C = reading / (1 + 0.02 x (T - 25)). The 2 percent per degree figure is an approximation stated on card ACH-04; use your meter's own coefficient if it is known (change it on the Results sheet).
Detection limit = 3 x standard deviation of the blank / slope. Quantitation limit = 10 x standard deviation of the blank / slope. Common conventions; the multipliers can be changed on the Results sheet.
Unknown interval: approximate 95 percent interval from the regression (inverse prediction), using the t distribution with n - 2 degrees of freedom.
Standard addition: the fitted line of reading against added concentration meets the axis at minus the sample concentration in the mixture; enter the added concentration after correcting for dilution.
Practice data were invented for the card; they are not real measurements.
Compiled by Emmanuel G. Lozano, Department of Biology, College of Arts and Sciences, Pampanga State University. Original material is licensed CC BY-NC 4.0: credit required, non-commercial use only.

## Enter data
Enter your data
Type only in yellow cells. Temperature is in degrees C, conductivity in microsiemens per cm (uS/cm), concentrations in mg/L.
1. Standards (salt solutions of known concentration)
Concentration (mg/L) | Conductivity (uS/cm) | Temperature (C) | Reading at 25 C (calculated)
100 | 203.4 | 26.5 | 199.4
0 | 3.1 | 26.5 | 3.0097
50 | 106.6 | 26.5 | 103.4951
100 | 208.5 | 26.5 | 202.4272
200 | 415.5 | 26.5 | 403.3981
300 | 622.2 | 26.5 | 604.0777
400 | 827.6 | 26.5 | 803.4951
500 | 1035 | 26.5 | 1004.8544
2. Blank readings (the clean water, several separate portions)
Blank | Conductivity (uS/cm) | Temperature (C) | Reading at 25 C (calculated)
Example | 3.4 | 26.5 | 3.3
Blank 1 | 2 | 26.5 | 1.9417
Blank 2 | 3.2 | 26.5 | 3.1068
Blank 3 | 2.2 | 26.5 | 2.1359
Blank 4 | 2.1 | 26.5 | 2.0388
Blank 5 | 2.9 | 26.5 | 2.8155
Blank 6 | 3.4 | 26.5 | 3.301
Blank 7 | 3.6 | 26.5 | 3.4951
Blank 8 | 3.7 | 26.5 | 3.5922
Blank 9
Blank 10
3. Unknown solution (replicate readings)
Reading | Conductivity (uS/cm) | Temperature (C) | Reading at 25 C (calculated)
Example | 480.6 | 26.5 | 466.6
Reading 1 | 500.2 | 26.5 | 485.6311
Reading 2 | 498.5 | 26.5 | 483.9806
Reading 3 | 495.6 | 26.5 | 481.165
Reading 4
Reading 5
Reading 6
4. Standard addition (natural water sample with known amounts added)
Added concentration in the mixture (mg/L) | Conductivity (uS/cm) | Temperature (C) | Reading at 25 C (calculated)
50 | 316 | 26.5 | 306.8
0 | 233 | 26.5 | 226.2136
50 | 327.9 | 26.5 | 318.3495
100 | 423.8 | 26.5 | 411.4563
150 | 521.6 | 26.5 | 506.4078
200 | 615.7 | 26.5 | 597.767

## Results
Results
Everything on this sheet is calculated. Change only the yellow settings.
Settings
Temperature coefficient (fraction per degree C) | 0.02 | Approximation from card ACH-04. Use your meter's value if known.
Confidence level for the interval | 0.95 | 0.95 = 95 percent.
Detection limit multiplier | 3 | Common convention: 3 x sd of blank / slope.
Quantitation limit multiplier | 10 | Common convention: 10 x sd of blank / slope.
1. Calibration line (reading at 25 C = intercept + slope x concentration)
Standards used | 7
Check on the rows | OK
Slope (uS/cm per mg/L) | 2.0032
Intercept (uS/cm) | 2.8346
R squared | 1
Residual standard deviation (uS/cm) | 0.53959
2. Detection and quantitation limits
Blank readings used | 8
Standard deviation of the blank (uS/cm) | 0.6775
Detection limit (mg/L) | 1.0146
Quantitation limit (mg/L) | 3.3822
3. Unknown solution (read from the calibration line)
Replicate readings used | 3
Mean reading at 25 C (uS/cm) | 483.5922
Concentration (mg/L) | 239.9983
Approximate standard error (mg/L) | 0.1862
Interval, lower (mg/L) | 239.5196
Interval, upper (mg/L) | 240.4769
4. Standard addition (does the sample matrix change the response?)
Points used | 5
Slope of the addition line | 1.8623
Intercept of the addition line (uS/cm) | 225.8058
Ratio of addition slope to calibration slope | 0.92969 | 1.00 means no matrix effect.
Sample concentration by standard addition (mg/L) | 121.2491
Same sample read from the calibration line (mg/L) | 111.3091
Reading | The matrix changes the response by more than 5 percent: use the standard addition value.
Charts