## Start here
AP-07 Blood pressure and oxygen saturation: repeatability, posture, device agreement
Excel version of the card. It does the same calculations as the R script ap07_bp_spo2.R.
How to use this workbook
1. Go to the 'Enter data' sheet. Type only in the yellow cells with blue text. Grey cells are calculated for you.
2. Fill the blocks that apply. Leave rows you did not use empty. The grey italic row above each table is an example of the format and is not used.
3. Open the 'Results' sheet. Everything there is calculated. Yellow cells on that sheet are settings you may change.
What the colours mean
Yellow cell, blue text: you type here.
Grey cell: a formula. Sheets are protected without a password so formulas are not overwritten by accident (Review > Unprotect Sheet).
Assumptions and sources
Teaching only; not medical advice; do not interpret anyone's values clinically. Use anonymous codes. Approval for student-subject activities is assumed to have been granted, and taking part is voluntary.
Repeatability coefficient = 1.96 x sqrt(2) x within-subject sd. Device agreement: differences of subject means, limits = mean difference +/- 1.96 sd (Bland-Altman).
Practice data in the filled example were invented for the card. They are not real measurements.
Compiled by Emmanuel G. Lozano, Department of Biology, College of Arts and Sciences, Pampanga State University. Original material is licensed CC BY-NC 4.0: credit required, non-commercial use only.

## Enter data
Enter your data
Type only in yellow cells. Leave unused rows empty.
1. Repeatability: three seated systolic readings on device A
Subject code | Reading 1 (mmHg) | Reading 2 | Reading 3 | Within-subject variance
S1 | 112 | 115 | 110
S1 | 107 | 110 | 104 | 9
S2 | 110 | 107 | 114 | 12.3333
S3 | 104 | 111 | 110 | 14.3333
S4 | 103 | 94 | 102 | 24.3333
S5 | 108 | 108 | 102 | 12
S6 | 101 | 99 | 100 | 1
S7 | 117 | 109 | 112 | 16.3333
S8 | 128 | 122 | 124 | 9.3333
S9 | 108 | 108 | 103 | 8.3333
S10 | 107 | 112 | 100 | 36.3333
S11 | 120 | 117 | 114 | 9
S12 | 123 | 118 | 110 | 43
S13 | 113 | 115 | 112 | 2.3333
S14 | 106 | 103 | 106 | 3
S15 | 117 | 109 | 113 | 16
S16 | 116 | 119 | 114 | 6.3333
2. Posture (device A subject means)
Subject code | Seated systolic | Standing systolic | Seated heart rate | Standing heart rate | Systolic change (standing minus seated) | Heart rate change
S1 | 112 | 114 | 72 | 82
S1 | 111 | 113 | 75 | 85 | 2 | 10
S2 | 112 | 114 | 74 | 76 | 2 | 2
S3 | 109 | 111 | 76 | 84 | 2 | 8
S4 | 103 | 105 | 71 | 87 | 2 | 16
S5 | 107 | 109 | 73 | 82 | 2 | 9
S6 | 103 | 102 | 72 | 81 | -1 | 9
S7 | 115 | 117 | 72 | 84 | 2 | 12
S8 | 123 | 129 | 72 | 84 | 6 | 12
S9 | 105 | 111 | 67 | 76 | 6 | 9
S10 | 106 | 106 | 72 | 89 | 0 | 17
S11 | 115 | 117 | 73 | 83 | 2 | 10
S12 | 115 | 117 | 74 | 84 | 2 | 10
S13 | 111 | 115 | 72 | 79 | 4 | 7
S14 | 104 | 103 | 75 | 83 | -1 | 8
S15 | 112 | 112 | 72 | 76 | 0 | 4
S16 | 116 | 121 | 66 | 85 | 5 | 19
3. Device agreement (seated systolic subject means)
Subject code | Device A | Device B | B minus A
S1 | 112 | 116
S1 | 112 | 113 | 1
S2 | 115 | 120 | 5
S3 | 110 | 112 | 2
S4 | 104 | 110 | 6
S5 | 108 | 112 | 4
S6 | 103 | 104 | 1
S7 | 113 | 119 | 6
S8 | 124 | 131 | 7
S9 | 108 | 111 | 3
S10 | 106 | 110 | 4
S11 | 116 | 120 | 4
S12 | 115 | 117 | 2
S13 | 113 | 119 | 6
S14 | 104 | 107 | 3
S15 | 112 | 116 | 4
S16 | 118 | 121 | 3

## Results
Results
Everything on this sheet is calculated. Change only the yellow settings.
Repeatability of systolic pressure (device A, seated)
Within-subject standard deviation (mmHg) | 3.7333
Repeatability coefficient (mmHg) | 10.3482
Standard error of a person's mean by number of readings
Readings | Standard error (mmHg)
1 | 3.7333
2 | 2.6398
3 | 2.1554
5 | 1.6696
Systolic pressure: standing minus seated (paired t test)
Subjects | 16
Mean change | 2.1875
Standard deviation of changes | 2.167
95% interval, lower | 1.0328
95% interval, upper | 3.3422
p value | 0.0010734
Heart rate: standing minus seated (paired t test)
Subjects | 16
Mean change | 10.125
Standard deviation of changes | 4.4253
95% interval, lower | 7.7669
95% interval, upper | 12.4831
p value | 1.5826e-07
Device agreement (Bland-Altman)
Subjects | 16
Mean difference, B minus A (mmHg) | 3.8125
Standard deviation of differences | 1.8337
95% limit of agreement, lower | 0.21842
95% limit of agreement, upper | 7.4066
Correlation between devices | 0.96562 | High correlation can hide a constant offset.