## Start here
AP-07 Blood pressure and oxygen saturation: repeatability, posture, device agreement
Excel version of the card. It does the same calculations as the R script ap07_bp_spo2.R.
How to use this workbook
1. Go to the 'Enter data' sheet. Type only in the yellow cells with blue text. Grey cells are calculated for you.
2. Fill the blocks that apply. Leave rows you did not use empty. The grey italic row above each table is an example of the format and is not used.
3. Open the 'Results' sheet. Everything there is calculated. Yellow cells on that sheet are settings you may change.
What the colours mean
Yellow cell, blue text: you type here.
Grey cell: a formula. Sheets are protected without a password so formulas are not overwritten by accident (Review > Unprotect Sheet).
Assumptions and sources
Teaching only; not medical advice; do not interpret anyone's values clinically. Use anonymous codes. Approval for student-subject activities is assumed to have been granted, and taking part is voluntary.
Repeatability coefficient = 1.96 x sqrt(2) x within-subject sd. Device agreement: differences of subject means, limits = mean difference +/- 1.96 sd (Bland-Altman).
Practice data in the filled example were invented for the card. They are not real measurements.
Compiled by Emmanuel G. Lozano, Department of Biology, College of Arts and Sciences, Pampanga State University. Original material is licensed CC BY-NC 4.0: credit required, non-commercial use only.

## Enter data
Enter your data
Type only in yellow cells. Leave unused rows empty.
1. Repeatability: three seated systolic readings on device A
Subject code | Reading 1 (mmHg) | Reading 2 | Reading 3 | Within-subject variance
S1 | 112 | 115 | 110
2. Posture (device A subject means)
Subject code | Seated systolic | Standing systolic | Seated heart rate | Standing heart rate | Systolic change (standing minus seated) | Heart rate change
S1 | 112 | 114 | 72 | 82
3. Device agreement (seated systolic subject means)
Subject code | Device A | Device B | B minus A
S1 | 112 | 116

## Results
Results
Everything on this sheet is calculated. Change only the yellow settings.
Repeatability of systolic pressure (device A, seated)
Within-subject standard deviation (mmHg)
Repeatability coefficient (mmHg)
Standard error of a person's mean by number of readings
Readings | Standard error (mmHg)
1
2
3
5
Systolic pressure: standing minus seated (paired t test)
Subjects | 0
Mean change
Standard deviation of changes
95% interval, lower
95% interval, upper
p value
Heart rate: standing minus seated (paired t test)
Subjects | 0
Mean change
Standard deviation of changes
95% interval, lower
95% interval, upper
p value
Device agreement (Bland-Altman)
Subjects | 0
Mean difference, B minus A (mmHg)
Standard deviation of differences
95% limit of agreement, lower
95% limit of agreement, upper
Correlation between devices |  | High correlation can hide a constant offset.